| - SUSTAINABLE DEVELOPMENT |  |  |
| --- | --- | --- |
| - 10. | - Macarthur Windfarm - Investigation of Nuisance Complaints |  |
|  | Presented by | Oliver Moles |
|  | Report author | Russell Guest and Murray Murfett |
|  | Attachments | - Legal advices – Confidential Attachment - Blank interview and diary forms. - Summary of Individual Responses - Department of Health – Windfarms, Sound and Health |

OFFICER’S RECOMMENDATION

1. 	Having conducted an investigation of the nuisance complaints made under the Public Health and Wellbeing Act 2008 in relation to noise and health impacts from the Macarthur Wind Energy Facility (Facility), that Council determines, on the basis of:

  - the best currently available information including from the National Health and Medical Research Centre (NHMRC) and the Victorian Department of Health; and

  - its own investigations of the complaints received,

that the Facility is not currently causing a nuisance of the type governed by Part 6 Division 1 of the Public Health and Wellbeing Act 2008.

2. 	Having conducted an investigation of the nuisance complaints made under the Public Health and Wellbeing Act 2008 in relation to noise and health impacts from the Macarthur Wind Energy Facility (Facility), that Council determines, on the basis of:

- the best currently available information including from the National Health and Medical Research Centre (NHMRC) and the Victorian Department of Health; and

- its own investigations of the complaints received,

that the Facility is not currently causing a nuisance of the type governed by Part 6 Division 1 of the Public Health and Wellbeing Act 2008.

SYNOPSIS

- Following the receipt of 23 written complaints from property owners in proximity of the Macarthur Wind Energy Facility interviews were conducted at the complainants’ residences, between 18 November 2013 and 3 March 2014 by Murray Murfett Environmental Health Officer, assisted by Russell Guest, Co-Ordinator Energy and Major Projects. The investigation findings are that in respect to noise, that the noise from the Macarthur WEF is, at the very least liable to be offensive, but is not able to be regarded as a nuisance.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

- With respect to the complaints made concerning effects on health until a National or State enquiry investigates this matter, and given the current information and evidence available to Council, it is not reasonable to come to any conclusion on possible health impacts.

BACKGROUND

###### Origin of the Investigation

- A group of 20 landowners collectively engaged their own acoustic consultant and employed Piper Alderman Lawyers, to represent them regarding background noise compliance.

- Piper Alderman Lawyers wrote to Council earlier this year enclosing copies of two letters sent to the Minister of Health and the Permanent Secretary of the Department of Health.

- Amongst many other matters covered, the letter to Council requests the support of Council to require the undertaking of a Health Impact Assessment - as provided for in the Public Health and Wellbeing Act - of the impact of the Macarthur Wind Farm.

- Council considered this request at its meeting of 27 May 2014, and resolved:

“That Council reconsider this matter when the investigations being undertaken under the Public Health and Wellbeing Act are finalised”.

- Shortly after this, complaints were lodged regarding nuisance caused by the Macarthur Wind Energy Facility, under the provisions of the Public Health and Wellbeing Act 2008.

- All landowners represented by Piper Alderman made submissions regarding nuisance to Council.

Legal Advice - The Public Health and Wellbeing Act 2008

- The assessment of, and determination of the existence of a nuisance is a complex issue and advice was obtained from Maddocks solicitors on four occasions, being letters dated:

  - 09 September 2013

  - 18 October 2013

  - 16 May 2014

  - 25 August 2014

(Refer to Attachment 4, Legal advices – Confidential Attachment).

- The key point of the early advice was for Council to wait until the noise compliance matter as required by the planning permit allowing the Macarthur WEF, was resolved before making a determination on the nuisance claim.

- This has delayed the presentation of this report from April 2014, to October 2014, as the noise compliance matter was not resolved until the September 2014 Ordinary Council meeting.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

- The Public Health and Wellbeing Act 2008 (PHWB) establishes procedures for Council to follow, in dealing with nuisances which have been notified to Council.

- Division I of Part 6 of the Act is critical in determining what activities are governed by the nuisance provisions of the Act.

- Division I is headed "Nuisances" and Section 58 reads:

This Division applies to nuisances which are, or are liable to be, dangerous to health or offensive.

(2)	Without limiting the generality of subsection (1), this Division applies in particular to nuisances arising from or constituted by:

(a)	premises; or

(b) 	water; or

(c) 	animal, including a bird or insect, capable of carrying a disease transmissible to human beings; or

(d) 	refuse; or

(e) 	noise or emission; or

(f) 	state, condition or activity;

(g) 	other matter or thing- which is or is liable to be dangerous to health or offensive.

(3)	For the purpose of determining whether a nuisance arising from or constituted by any matter or thing referred to in sub section (2) is, or is liable to be, dangerous to health or offensive:

(a)	regard must not be had to the number of persons affected or that may be affected; and

(b) 	regard may be had to the degree of offensiveness.

(4) 	In this section, offensive means noxious or injurious to personal comfort.

- The Division only applies to "nuisances" which are, or are liable to be, dangerous to health or offensive.

- Noise can be a nuisance but noise is not by itself a nuisance.  What this means is that, in order for the nuisance provisions of the Act to apply, the activity must:

  - first, be a nuisance of the type recognised by law; and

  - second, it must be a nuisance which is, or is liable to be, dangerous to health or offensive.

- Section 58(2) (see above) does not define nuisance.  Rather it simply sets out a list of activities which could constitute a nuisance.

- "Nuisance" is not defined by the Act.  As the Division only applies to "nuisances" (and not other conditions), it is necessary to understand what "nuisance" means.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

## Definitions and Concepts Central to the Nuisance Complaints

- This section of the report is to provide Council with a basis that it has correctly understood and considered the relevant factors, before making a decision on the nuisance claims.

- The main terms that need to be understood to obtain an understanding of the framework within which a Responsible Authority needs to act regarding the Public Health and Wellbeing Act.  These are explained as follows:

What is a nuisance under the Act?

- In order for the nuisance provisions of the Act to apply, the activity must:

- First, be a nuisance of a type recognised by law; and

- Second, be a nuisance which is, or is liable to be, dangerous to health or offensive.

Substantial and Unreasonable

- What constitutes a substantial and unreasonable degree of interference is decided according to the reasonable standards for the enjoyment of those premises.

- As such, the nature and character of the locality of the Macarthur WEF is a relevant factor. While planning permission does not prevent a finding of nuisance, it does alter the character of the locality of the wind farm.

- It is the changed character that is to be considered, rather than the location of the character before the wind farm - private nuisance is to be decided by reference to a locality "with that permitted development or use and not as it was previously".

- The character of the locality has therefore changed significantly with the construction of the Macarthur WEF

Social Utility of the Macarthur WEF

- In determining reasonable standards one must also consider the nature of the activity and its social utility.

- The social utility of the Macarthur WEF is significant, in that it is a source of renewable energy that does not cause greenhouse gases or other pollutants.

Compliance, or non-compliance with the planning permit

- Compliance with the planning permit and the relevant industry standard (New Zealand Standard 'Acoustics - the Assessment and Measurement of Sound from Wind Turbine Generators' (NZA 6808:1998) (Standard) is highly relevant.

- The Macarthur WEF is compliant with the planning permit and Noise Standard.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

Offensive

- Offensive is defined in the Act as "noxious or injurious to personal comfort".  This is a relatively low threshold.

- The results of Council's interviews with the complainants indicate that the noise from the Macarthur WEF, whether or not the WEF is complying with the permit and Standard, is impacting on personal comfort.

- Such impacts or effects of the noise, being that:

  - It is heard inside homes,

  - Disturbs sleep and

  - Is audible over the television;

are all ways in which the noise could be argued to be injurious to personal comfort, and therefore, offensive.

Dangerous to Health

- The current position of the relevant regulatory authority, the Department of Health, is that there is no evidence of health impacts caused by wind farms.

- This was reflected by the recent National Health and Medical Research Council (NHMRC) report entitled “Systematic review of the human health effects of wind farms, National Health and Medical Research Council, Canberra) which found:

  - That although a very comprehensive search for literature on the adverse health effects of wind turbines was conducted, on present evidence the association of exposure to wind turbines and adverse health effects appears to be very limited.

  - There is no consistent evidence that adverse health effects are caused by exposure to wind turbine noise.

  - There is, though, consistent—albeit probably confounded—evidence that noise from wind turbines is associated with annoyance, and reasonably consistent evidence that it is associated with sleep disturbance and poorer quality of life.

  - None of this evidence is sufficient to establish a cause-and-effect relationship.

  - While no research has directly addressed the association between infrasound from wind turbines and health effects, the possibility of such an association cannot be excluded on present evidence.

- The results of Council's interviews with the complainants indicate they believe that the noise from the Macarthur WEF has affected their health.

- There was no specific medical evidence to support these impacts.

- The existence or otherwise of a private nuisance is not ascertained solely by reference to the impact of an activity on the complainant, but also by reference to the reasonableness or otherwise of the person undertaking the activity.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

- Legally it is not necessary for the noise to be, or liable to be, dangerous to health in order for it to offensive, as dangerous to health and offensive are alternatives.  That is it can be offensive, even if it is not dangerous.

What Council must do in considering the investigation and what measures are available to remedy the nuisance?

- Section 61 of the Public Health and Well Being Act establishes what an offence under the Act is.  Relevantly it states that:

Section 61 - Offence of causing a nuisance

(1) 	A person must not-

(a)	 cause a nuisance; or

(b)	 knowingly allow or suffer a nuisance to exist on, or emanate from, any land owned or occupied by that person.

Penalty: In the case of a natural person, 120 penalty units; In the case of a body corporate, 600 penalty units.

(2)	A person is not guilty of an offence under subsection (1)(b) if the person had a lawful excuse for knowingly allowing or suffering a nuisance to exist on, or emanate from, any land owned or occupied by that person.

- Once Council has completed its investigation, it must then consider all of the evidence and determine whether a nuisance exists.

- If Council determines that a nuisance exists, Council is required to remedy the nuisance (pursuant to the duty contained in Section 60),

- There are a number of options available to Council under the Act to deal with a nuisance. The options available include:

  - prosecuting the person causing the nuisance;

  - prosecuting the owner or occupier of the land; and;

  - issuing an improvement or prohibition notice to the person who has contravened the Act.

- However, if Council determines that the noise is substantial and unreasonable and that a nuisance does exist, it will have a duty to remedy, as far as is reasonably possible, that nuisance.

- In short, the issue of remedy here is complex. The common remedies for nuisance include issuing an improvement notice or a prohibition notice, or bringing a prosecution.

- One of the key complicating factors with this matter is that the noise has been found to be compliant with the planning permit, meaning any notice that required the noise (the nuisance) to stop or reduce for any period would, in effect, impinge on what is permitted by the permit.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

Options available to Council if it finds the nuisance is only “Offensive”

- If Council determines that the noise is offensive as it is injurious to personal comfort but that it is not a substantial and unreasonable interference with the private right to use and enjoy land, there will be no nuisance under this Act and no obligation or power for Council to proceed down this path.

- If Council determines that there is no nuisance, there is no obligation to take enforcement action under the Public Health and Wellbeing Act.

- In the absence of such an action, then Council is left to deal with the situation on the basis of its powers under other Acts – the key one here, being the Planning and Environment Act.

- That Act has no capacity to deal with this matter. Being “offensive” is not an offence under the Planning and Environment Act and Council has determined that noise is compliant with the conditions and requirements of the planning permit.

STRATEGIC LINK

- Under the provisions of the Public Health and Wellbeing Act 2008, Council is the responsible authority required to investigate complaints of nuisance.

DISCUSSION – INTERVIEWS

- Of the 23 complainants Officers were able to interview 20, with an interview ranging in size from one to three people.

(Refer to Attachment 2, Blank interview and diary forms and Attachment 3, Summary of Individual Responses.)

- The questions were designed to:

- Establish the existence and source of the nuisance

- Determine impact (times, duration, locations within the house)

- Effects (physical, emotional, social and financial)

- Causes of variability (including times and weather conditions)

- Review any records kept

- In addition, the investigating officers requested several of the complainants to keep an events-based log of their experiences, and also recorded their own experiences at each of the complainant’s properties.

- Three complainants were not interviewed (no longer resident in the district, unavailable due to work commitments or unwilling).

- The responses were given in a considered manner by the interviewees and in the officers’ opinion reflected the genuine feelings of all those interviewed.

- Each complainant was guaranteed anonymity.  None of the complainants had wind turbines on their property.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

- The responses from the on-site interviews were then summarised to provide a picture of the alleged nature and extent of the effects on a household occupants.

- In general, the alleged effects varied on residents, according to a number of variables, ranging from occasional and annoying, to more severe impacts, which included:

  - sleep deprivation (being woken and /or being kept awake)

  - headaches, nausea

  - body vibrations

  - structural vibrations within their dwellings

  - having to spend nights away from their home, for respite.

- Unsolicited comments, covering other alleged impacts not addressed in the questionnaire were made by the complainants.  These included:

  - social impacts (relatives, friends and neighbours becoming estranged and local community activities ceasing)

  - frustration (at having to constantly justify their concerns)

  - potential effect on farm devaluation and the impact on future and succession planning

  - the potential of being surrounded by wind farms (or “wind factories”)

  - impact on wildlife (e.g. deserted wetlands)

THE INTERVIEW RESPONSES

### NOISE

Analysis of whether the noise is “substantial and unreasonable"

- What needs to be decided is whether the noise is or is not a nuisance.

- Noise based on the results of the interviews, constitutes interference with the private right to the use and enjoyment of land.

- However, it is not clear that it is a substantial and unreasonable interference.

- Council’s legal advice is that a highly relevant factor in determining whether the noise is substantial and unreasonable, is whether the Macarthur WEF complied with the planning permit noise standard.

- Council determined at 23 September 2014, Ordinary Meeting that the Macarthur Wind Farm was compliant with the relevant noise standard and relevant planning permit conditions.

- The compliance with the standard, which was set by the relevant authorities as the arbiter of what noise is allowable, is therefore the major determinant that if it complies it is insubstantial and reasonable.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

#### Analysis of whether the noise is “offensive"

- The “offensive” threshold is met if the noise is “injurious to personal comfort”.  That is the noise impacts on the complainant’s work, leisure time and sleep and occurs regularly, if not on a daily basis.

- It is particularly significant that the “offensive” impacts also were reported at night when there is a greater expectation that there will be less noise.

- A significant number of the complainants work shift work, which requires them to sleep during daylight hours, and as a consequence the daytime noise impacts on sleep.

- The complainants all describe the noise, and therefore the impacts of it, as varying with wind speed and direction. To a lesser extent variances relating to cloud cover and cloud ceiling were noticed.

- Although the Wind Farm is compliant, the noise experienced by the complainants is considered to meet the second, lesser criteria, of being “offensive”.

- Only if the noise meets the other criteria of substantial and unreasonable interference” thus becoming a nuisance can any practical action be undertaken by Council.

- This is because there is no offence for being offensive in the Act. The Planning and Environment Act is also of very little assistance, by meeting the permit condition, there is also no offence with respect to noise.

### HEALTH

#### Outcomes of Investigation

- The households interviewed reported the following alleged health impacts:

  - Just under one third reported ear issues such as buzzing, tinnitus or increased sensitivity;

  - Five said they experienced headaches; and

  - Two also said they experienced nausea or a feeling of sickness from the noise.

  - The disturbed sleep and/or deprivation of sleep referred to by almost all of the complainants' households could be, at least in some cases, regarded as a health issue, or being dangerous or liable to be dangerous to health.

- Of the 20 complainants interviewed, the responses were categorised as being either high, medium or low level.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

### RESULTS

- The health aspects of the nuisance complaints made pursuant to the Public Health and Wellbeing Act, are summarised as:

  - 4 impacts were categorised as high level in nature.  That is the complaints were reported as being:

    - Both audible and inaudible sensations;

    - Serious sleep deprivation resulting in increased potential for workplace and driving accidents;

    - Nausea and headaches;

    - Extreme ear pressure effects;

    - Constant tiredness, anxiety, body vibrations, stresses; and

    - Having to leave the property regularly to obtain a good night’s sleep.

  - 9 were categorised as moderate.  That is the complaints were reported as being:

- audible sensations;

- sleep disturbance and deprivation;

- inability to relax at nights;

- nuisance noise heard over the top of the television;

- impacts outdoor activities;

  - 6 were categorised as low level.  That is the complaints were reported as being:

    - occasional sleep interruptions, only occasionally heard;

    - no major impacts but annoying during their relaxing times.

- Such effects included claims of physical, emotional and mental impacts.

- There was no specific medical evidence to support these alleged health impacts although a number of people have consulted the medical profession.

- The reported effects on residents varied within households, were often cumulative and not immediately noticeable in some cases.

- Conflict within households, neighbourhoods and communities was reported,

- Several residents reported what was considered to be quite severe impacts on their health that included nausea, sharp pains, headaches, ear pressure changes and dizziness.

- Council Officers are not qualified to state these effects are or are not caused by the Macarthur Wind Energy Facility.

- As Council is aware, the topic of the claimed adverse impacts on health caused by wind farms has been a hotly debated and contentious issue.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

- Council considered a report at its March 2014 Council meeting on the outcomes of the National Health and Medical Research Council (NHMRC) report entitled “Systematic review of the human health effects of wind farms, National Health and Medical Research Council, Canberra”.

- This was an independent review (Undertaken by University of Adelaide) of the literature to determine whether there is an association between exposure to wind farms and human health effects and, if so, whether this association is causal or might be explained by chance, bias or confounding.

- The conclusions were:

  - That although a very comprehensive search for literature on the adverse health effects of wind turbines was conducted, on present evidence the association of exposure to wind turbines and adverse health effects appears to be very limited.

  - There is no consistent evidence that adverse health effects are caused by exposure to wind turbine noise.

  - There is, though, consistent—albeit probably confounded—evidence that noise from wind turbines is associated with annoyance, and reasonably consistent evidence that it is associated with sleep disturbance and poorer quality of life.

  - None of this evidence is sufficient to establish a cause-and-effect relationship.

  - While no research has directly addressed the association between infrasound from wind turbines and health effects, the possibility of such an association cannot be excluded on present evidence.

- Consequently the quality and quantity of evidence available to address the questions is at best limited.

- The NHMRC stated further and better research on the relationship between noise from wind turbines and health, sleep and quality of life is warranted.

- Council simply does not have the resources, or expertise to address such questions, which need to be done on an Australia wide approach.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

AGL’s RESPONSE TO COMPLAINTS

- The complaints regarding alleged noise and health impacts were regularly submitted to AGL over the period from when the Macarthur Wind Energy Facility commenced operating to date.

- The planning permit established a system where all complaints that were covered by the Planning and Environment Act were to be submitted to AGL, who were to respond in accordance with their endorsed complaints process.

- Health matters that were the subject of the nuisance complaints under the Public Health and Wellbeing Act were also included in these complaints

- As required by the permit, AGL has provided a copy of their register on a monthly basis, and by cross checking with the copies of the e-mails received indicate the register accurately reflects the complaints received.

- The standard response provided to complainants is as set out in the example following:

| Issue | Resolution Summary | Outcome |
| --- | --- | --- |
| Claiming disturbed sleep due to the wind farm, concerned about impacts | Email acknowledged. Reference number sent. Advised to seek medical attention for all health related matters | There has been no change to wind farm operation since noise compliance has been established. |

- Note AGL have been claiming compliance since April 2013 when they forwarded their compliance report to the Minister for Planning.  Their position is they comply with the noise standard therefore audible noise is not a planning matter, and adopt the view there is no evidence of health effects, but do include the advisory warning to seek advice.

- This action, combined with sending a letter to all local medical doctors’ claiming that there is no evidence wind farms have any effect on health, and promoting the “nocebo” effect, caused much ill will amongst the respondents to the survey.

- The gulf between the two views is entrenched and given the totally inadequate research undertaken in Australia to date, will only continue.

##### CONSULTATION

- Council Officers interviewed 20 of the complainants. No direct consultation on the matters of the nuisance complaints has taken place with AGL. The EPA, Department of Health, Department of Transport, Planning and Local Infrastructure and AGL are aware that nuisance complaints have been received and that an investigation was undertaken.

- Sustainable Development

- Macarthur Windfarm – Investigation of Nuisance Complaints (cont’d)

FINANCIAL IMPLICATIONS

- While the investigation phase is now complete, Council is potentially facing substantial costs if it wished to prosecute this matter.

risk

- Council is addressing issues that are extremely technical, and which have yet to be properly addressed as evidenced by the NHMRC report recommending further research on noise and health impacts.

- The lack of proper research exposes Council to the risk that it can make a considered judgement based on the best available advice, but that in a short space of time further evidence is produced invalidating the advice provided.

- Risk of complainants taking Council to Magistrate’s Court under the provisions of the Public Health and Wellbeing Act.

CONCLUSION

- Council’s solicitors on assessing the evidence formed the view that:

“On balance, applying the legal tests and considering the relevant factors, we consider that the noise from the Wind Farm is not substantial and unreasonable, and therefore conclude that a nuisance does not exist.”

- Council’s Environmental Health Officer and the Co-ordinator of Major Projects, opinion is that the noise from the Macarthur WEF is, at the very least liable to be offensive, but is not able to be regarded as a nuisance. Council officers do not doubt the complaints are genuinely held.

- Council has determined previously that the Macarthur WEF complies with its planning permit conditions in relation to noise.

- There is no doubt that the affected landowners are convinced the Macarthur Wind Farm has to varying degrees had a detrimental effect on them.

- With respect to the effects on health, until an enquiry investigates this matter and given the current information and evidence available to Council, it is not reasonable to come to any conclusion on possible health impacts.

- Therefore Council is not in a position to accept and thus decide on the health aspects of the nuisance complaints.